To COL Ron Poropatich, MD Director, Telemedicine    Walter Reed Army Med. Cntr.

From Dave Warner MD PhD   Director of Medical intelligence  MindTel. LLC

Statement of Work for ARMY

This is a FIXED COST CONTRACT

The Sum  of $10,000 is agreed upon by both parties

Contract number

Task order 0001

Task Title:  Interface to COTS glucose monitor

Date 28 MAR 00

1.0 INTRODUCTION

Monitoring bio-sensor data is expected to have a profound effect on the ability to control chronic diseases such as diabetes.  They ARMY has an interest in developing a capacity for monitoring standard blood glucose levels in this (diabetic)  patient population. Efforts to utilize off the shelf technology help ensure the availability and accessibility of bio-sensors which can measurement of glucose.

2.0 SCOPE

This task order will provide for the support services required to ensure interface  refinement of   a standard, COTS glucose monitoring device.  Mindtel will take delivery of 3-5 standard, COTS glucose monitoring devices from the sponsor. Mindtel will devise a method for transferring the data gathered by the devices from the device itself to a web based viewable form.

3.0 TECHNICAL REQUIREMENTS TO BE ACCOMPLISHED (TASKS)

3.1 Device connectivity.  Research and prototype a method for acquiring data from a standard, COTS glucose monitoring device. This will allow the data acquired by the device to be input to the computer

3.2 Software Development. Research, design and develop an extensible software patch which allows the data from a standard, COTS glucose monitoring device to be viewed by a standard web browser from anywhere on the internet. (issues of security will not be addressed by this SOW)

4.0       GOVERNMENT FURNISHED PROPERTY/MATERIALS

4.1. In addition to 3-5 standard, COTS glucose monitoring devices, access to relevant  research and development facilities, active training sites and necessary field operations to ensure realism of interface design and development

5.0       TRAVEL

5.1 It is anticipated that  travel will be necessary. It is expected that 1trip from San Diego

Washington DC for Mindtel personnel will be sufficient

6.0 OTHER

6.1 Place of performance. The work for this task will be performed on site at various locations determined by the sponsor. To include but not be limited to developers facilities, specific military properties, operation and testing grounds and during  technology review meetings.

6.2 CLASSIFICATION

This Task will be considered to be UNCLASSIFIED

6.3 PERIOD OF PERFORMANCE

This Task is anticipated to be a 2 month effort after the date of the award

6.4 INSPECTION AND ACCEPTTANCE

COL Ron Poropatich, MD  will determine deliverable acceptance

6.5 Contact info.

COL Ron Poropatich, MD

Director, Telemedicine                Director, Clin App. Div.

Walter Reed Army Med. Cntr.     Telemed & Adv Tech Res Cntr

Washington, DC 20307-5001       USAMRMC, Ft Detrick,MD

202-782-8935 (voice)                   301-619-2079 (voice)

202-782-4669 (FAX)                    www.tatrc.org

http://160.151.67.96/

MindTel LLC

2-212 Center for Science and Technology

111 College Place

Syracuse NY 13244-4100

telephone 315-443-5654

fax 315-443-4745